## Slide 1
Angela Karellis1,2, Faheel Naeem1,2, Sean Rourke3, John Kim4, Nitika Pant Pai1,2 1McGill University, Faculty of Medicine, Montreal, QC, Canada; 2Research Institute of the McGill University Health Centre, Montreal, QC, Canada; 3University of Toronto, St. Michael’s Hospital, CIHR Centre for REACH in HIV/AIDS, Toronto, Canada ; 4National Laboratory for HIV Reference Services, Winnipeg, Canada.
For more information, please contact: nitika.pai@mcgill.ca or angeliki.karellis@mail.mcgill.ca.
RESULTS
Diagnostic Performance of Multiplexed Platform and Point-Of-Care Rapid Tests for HIV and Sexually-Transmitted Blood-Borne Infections: A Systematic Review
PEB0124
BACKGROUND & OBJECTIVE
Multiplexed testing of HIV and associated sexually transmitted infections (STIs) by rapid point-of-care (POC) tests and platform devices offers a convenient, alternative screening and diagnostics option to screen/test/treat for multiple STIs in fewer patient visits.
Data on their real-world diagnostic performance has not yet been synthesized.
To fill this gap, we conducted a systematic review to analyze the diagnostic accuracy of multiplex rapid STI screening devices.
METHODS
Two independent reviewers searched two databases (Pubmed and Embase) as well as the bibliographies of relevant studies and review articles published between 2009 and 2019.
Studies with multiplexed, rapid and POC/platform tests that detect more than one STI were included.
We retrieved 3911 studies and included a final subset of 31 studies (Figure 1).
A lack of complete stratified data by pathogens/devices obviated pooling/meta-analyses, a narrative review was thus performed.
Sensitivities and specificities were compared and evaluated against lab reference standards.
Across 23 countries, 31 observational studies were conducted in N=26,537 at-risk populations, such as men who have sex with men, transgender individuals, injection drug users, female sex workers, Aboriginal communities and pregnant women.
Of the 31 included studies, 22 evaluated platform devices and 9 evaluated POC tests.
Pathogens screened by platform devices were Chlamydia trachomatis, Neisseria gonorrhoeae, Mycoplasma hominis, Mycoplasma genitalium, Trichomonas vaginalis, Ureaplasma urealyticum, Treponema pallidum, human papillomavirus and herpes simplex virus.
POC tests detected HIV, hepatitis B and C and Treponema pallidum.
Tables 1 to 12 illustrate the sensitivity and specificity (along with 95% confidence intervals) of the devices with highest diagnostic accuracy (sensitivity and specificity >90%) by STI, device and specimen tested.
When more than one specimen was evaluated in a study, the specimen yielding the highest diagnostic performance is shown here.
Overall, platform tests yielded a higher specificity and sensitivity (Tables 1-8 & 12), while POC tests yielded a high sensitivity (Tables 9-12).
Both technologies were comparable on turnaround time to result.
Table 1. Diagnostic accuracy of Chlamydia trachomatis devices
Table 2. Diagnostic accuracy of Mycoplasma genitalium devices
Table 3. Diagnostic accuracy of Mycoplasma hominis devices
RESULTS
Figure 1. PRISMA Flow chart
Table 5. Diagnostic accuracy of Neisseria gonorrhoeae devices
Table 6. Diagnostic accuracy of Ureaplasma urealyticum devices
Table 4. Diagnostic accuracy of Trichomonas vaginalis devices
PLATFORM DEVICES
Test | Specimen Type | Sensitivity (95% CI) | Specificity (95% CI)
Aurora FLOW | Vaginal (female) Urine (urethral), rectal & throat (male) | 100.0 (92.4-100.0) | 99.8 (99.0-99.9)
AmpliSens PCR | Vaginal & urine (female) Urine (male) | 97.5 (91.2-99.6) | 100.0 (99.7-100.0)
Anyplex II STI-7 Detection Kit PCR | Urine, endocervical | 100.0 (100.0-100.0) | 100.0 (100.0-1000)
 | Endocervical | 100.0 (NA) | 100.0 (NA)
Abbott RealTime CT/NG | Cervical | 92.6 (87.6-95.7) | 100.0 (99.4-100.0)
Seeplex PCR | Urine, endocervical | 96.8 (92.5-100.0) | 99.4 (98.9-99.9)
Siemens VERSANT kPCR | Urine | 100.0 (NA) | 100.0 (NA)
GeneXpert® CT/NG | Vaginal | 100.0 (NA) | 97.1 (NA)
 | Vaginal (female) Urine (male) | 98.6 (NA) | 98.7 (NA)
 | Urine | 100.0 (75.9-100.0) | 99.5 (96.5-100.0)
Bio-Rad Dx CT/NG/MG | Urine (female) | 100.0 (83.2-100.0) | 100.0 (97.7-100.0)
 | Urogenital, anorectal | 98.0 (NA) | 100.0 (NA)
BD Max CT/GC/TV | Vaginal (female) | 99.3 (96.1-99.9) | 98.6 (98.0-99.1)
 | Urine (male) | 96.1 (92.2-98.1) | 99.4 (98.4-99.8)
STDFinder (multiplex ligation-dependent probe amplification) | Vaginal | 100.0 (NA) | 100.0 (NA)
Multiplex PCR | Vaginal | 100.0 (NA) | 100.0 (NA)
 | Semen | 100.0 (NA) | 100.0 (NA)
CI, confidence interval; CT, Chlamydia trachomatis; GC or NG, Neisseria gonorrhoeae; kPCR, kinetic polymerase chain reaction; MG, Mycoplasma genitalium; NA, not available; STI, sexually-transmitted infection; PCR, polymerase chain reaction; TV, Trichomonas vaginalis. |  |  | 
Test18 | Specimen Type | Sensitivity (95% CI) | Specificity (95% CI)
Anyplex II STI-7 Detection Kit PCR | Urine, endocervical | 100.0 (100.0-100.0) | 100.0 (100.0-100.0)
AmpliSens PCR | Urine, endocervical | 100.0 (100.0-100.0) | 99.3 (98.7-99.9)
Bio-Rad Dx CT/NG/MG | Urine (female) | 100.0 (20.6-100.0) | 100.0 (97.6-100.0)
 | Urine (male) | 100.0 (56.5-100.0) | 100.0 (98.5-100.0)
Multiplex PCR | Semen | 100.0 (NA) | 100.0 (NA)
STDFinder (multiplex ligation-dependent probe amplification) | Vaginal | 100.0 (NA) | 100.0 (NA)
Seeplex PCR | Urine, endocervical | 91.7 (80.7-100.0) | 99.8 (99.5-100.0)
S-DiaMGTV multiplex Diagenode kit | Urine, anorectal, pharyngeal | 91.5 (85.4-95.7) | 99.7 (99.1-99.9)
CI, confidence interval; CT, Chlamydia trachomatis; MG, Mycoplasma genitalium; NA, not available; NG, Neisseria gonorrhoeae; PCR, polymerase chain reaction; STI, sexually-transmitted infection. |  |  | 
Test | Specimen Type | Sensitivity (95% CI) | Specificity (95% CI)
Anyplex II STI-7 Detection Kit PCR | Urine, endocervical | 100.0 (100.0-100.0) | 99.3 (98.7-99.9)
Seeplex PCR | Urine, endocervical | 100.0 (100.0-100.0) | 98.9 (98.2-99.6)
CI, confidence interval; NA, not available; PCR, polymerase chain reaction; STI, sexually-transmitted infection. |  |  | 
Test | Specimen Type | Sensitivity (95% CI) | Specificity (95% CI)
AmpliSens PCR | Vaginal & urine (female) Urine (male) | 100.0 (40.2-100.0) | 100.0 (99.7-100.0)
Anyplex II STI-7 Detection Kit PCR | Urine, endocervical, vaginal, pelvic fluid | 90.0 (86.0-94.0) | 98.4 (NA)
 | Urine, endocervical | 100.0 (100.0-100.0) | 99.2 (98.6-99.8)
 | Endocervical | 100.0 (NA) | 100.0 (NA)
Abbott RealTime CT/NG | Cervical | 95.5 (75.1-99.8) | 99.9 (99.3-100.0)
GeneXpert® CT/NG | Urine | 100.0 (96.5-100.0) | 100.0 (97.5-100.0)
 | Vaginal | 100.0 (NA) | 99.6 (NA)
 | Vaginal (female) Urine (male) | 97.8 (NA) | 98.5 (NA)
Siemens VERSANT kPCR | Urine | 100.0 (NA) | 100.0 (NA)
Bio-Rad Dx CT/NG/MG | Urine, vaginal, endocervical, urethral | 100.0 (NA) | 100.0 (NA)
 | Urogenital, anorectal | 100.0 (NA) | 99.7 (NA)
Seeplex PCR | Urine, endocervical | 100.0 (100.0-100.0) | 99.7 (99.3-100.0)
BD Max CT/GC/TV | Vaginal (female) | 95.5 (84.9-98.7) | 99.8 (99.5-99.9)
 | Urine (male) | 99.1 (94.9-99.8) | 100.0 (99.5-100.0)
PCR | Urethral discharge | 100.0 (NA) | 94.9 (NA)
STDFinder (multiplex ligation-dependent probe amplification) | Vaginal | 100.0 (NA) | 100.0 (NA)
Multiplex PCR | Vaginal | 100.0 (NA) | 98.6 (NA)
Multiplex PCR | Semen | 100.0 (NA) | 100.0 (NA)
CI, confidence interval; CT, Chlamydia trachomatis; kPCR, kinetic polymerase chain reaction; NA, not available; MG, Mycoplasma genitalium; GC or NG, Neisseria gonorrhoeae; PCR, polymerase chain reaction; STI, sexually-transmitted infection; TV, Trichomonas vaginalis. |  |  | 
Test | Specimen Type | Sensitivity (95% CI) | Specificity (95% CI)
Anyplex II STI-7 Detection Kit PCR | Urine, endocervical | 100.0 (100.0-100.0) | 99.9 (99.7-100.0)
 | Vaginal | 93.9 (NA) | 95.0 (NA)
Seeplex PCR | Urine, endocervical | 100.0 (100.0-100.0) | 100.0 (100.0-100.0)
AmpliSens PCR | Urine, endocervical | 100.0 (100.0-100.0) | 99.4 (98.9-99.9)
 | Vaginal & urine (female) Urine (male) | 100.0 (16.5-100.0) | 100.0 (99.7-100.0)
Multiplex PCR | Vaginal | 100.0 (NA) | 100.0 (NA)
BD Max CT/GC/TV | Vaginal | 96.1 (91.7-98.2) | 98.9 (98.0-99.4)
STDFinder (multiplex ligation-dependent probe amplification) | Vaginal | 100.0 (NA) | 90.3 (NA)
CI, confidence interval; CT, Chlamydia trachomatis; GC, Neisseria gonorrhoeae; NA, not available; PCR, polymerase chain reaction; TV, Trichomonas vaginalis. |  |  | 
Test | Specimen Type | Sensitivity (95% CI) | Specificity (95% CI)
Seeplex PCR | Urine, endocervical | 100.0 (100.0-100.0) | 99.4 (98.9-99.9)
Anyplex II STI-7 Detection Kit PCR | Urine, endocervical | 97.8 (94.8-100.0) | 99.3 (98.7-99.9)
CI, confidence interval; NA, not available; STI, sexually-transmitted infection; PCR, polymerase chain reaction. |  |  | 
Table 7. Diagnostic accuracy of human papillomavirus devices
Table 8. Diagnostic accuracy of herpes simplex virus devices
Strain | Test | Specimen Type | Sensitivity (95% CI) | Specificity (95% CI)
HPV-16 | In-house multiplex PCR | Genital, cervical | 100.0 (NA) | 97.1 (NA)
HPV-18 | In-house multiplex PCR | Genital, cervical | 100.0 (NA) | 98.1 (NA)
CI, confidence interval; HPV, human papillomavirus; NA, not available; PCR, polymerase chain reaction. |  |  |  | 
Strain | Test | Specimen Type | Sensitivity (95% CI) | Specificity (95% CI)
HSV-1 | Multiplex PCR | Semen | 100.0 (NA) | 98.2 (NA)
 | In-house multiplex PCR | Genital, cervical | 100.0 (NA) | 97.0 (NA)
HSV-2 | Multiplex PCR | Semen | 100.0 (NA) | 100.0 (NA)
 | STDFinder (multiplex ligation-dependent probe amplification) | Vaginal | 100.0 (NA) | 96.2 (NA)
 | In-house multiplex PCR | Genital, cervical | 100.0 (NA) | 96.0 (NA)
CI, confidence interval; HSV, herpes simplex virus; NA, not available; PCR, polymerase chain reaction. |  |  |  | 
POINT-OF-CARE DEVICES
Table 9. Diagnostic accuracy of human immunodeficiency virus devices
Test | Specimen Type | Sensitivity (95% CI) | Specificity (95% CI)
HIV/HCV/HBsAg Triplex | Blood | 100.0 (NA) | 100.0 (NA)
Miriad rapid TP/HBV/HIV/HCV antibody test | Fingerstick blood | NA | 100.0 (97.3-100.0)
Multiplexed test | Fingerstick blood | NA | 100.0 (94.8-100.0)
CI, confidence interval; HBsAg, Hepatitis B surface antigen; HBV, hepatitis B virus; HCV, hepatitis C virus; HIV, human immunodeficiency virus; NA, not available; TP, Treponema pallidum. |  |  | 
Table 10. Diagnostic accuracy of hepatitis B virus devices
Test | Specimen Type | Sensitivity (95% CI) | Specificity (95% CI)
HIV/HCV/HBsAg Triplex | Blood | 100.0 (NA) | 100.0 (NA)
Chembio HIV/HCV/syphilis | Whole blood | 92.3 (88.4-96.2) | 99.3 (98.8-99.9)
Chembio HIV/HCV | Whole blood | 91.5 (87.2-95.7) | 99.4 (98.8-99.9)
CI, confidence interval; HBsAg, Hepatitis B surface antigen; HCV, hepatitis C virus; HIV, human immunodeficiency virus; NA, not available. |  |  | 
Table 11. Diagnostic accuracy of hepatitis C virus devices
Test | Specimen Type | Sensitivity (95% CI) | Specificity (95% CI)
SD Bioline HIV/Syphilis Duo test | Fingerstick or serum blood | 100.0 (83.2-100.0) | 100.0 (100.0-100.0)
 | Venous blood (plasma) | 100.0 (75.9-100.0) | 99.5 (96.9-99.9)
 | Venous blood | 100.0 (63.1-100.0) | 100.0 (99.2-100.0)
 | Fingerstick blood | 99.1 (94.8-100.0) | 99.4 (97.7-99.9)
HIV/HCV/HBsAg Triplex | Blood | 100.0 (NA) | 100.0 (NA)
Miriad rapid TP/HBV/HIV/HCV antibody test | Fingerstick blood | 100.0 (47.3-100.0) | 100.0 (97.2-100.0)
INSTI Multiplex HIV-1/HIV-2/syphilis antibody test kit | Fingerstick blood | 98.8 (93.4-99.9) | 100.0 (98.1-100.0)
Multiplexed test | Fingerstick blood | 100.0 (31.0-100.0) | 100.0 (94.8-100.0)
CI, confidence interval; HBsAg, Hepatitis B surface antigen; HCV, hepatitis C virus; HIV, human immunodeficiency virus; NA, not available; TP, Treponema pallidum. |  |  | 
BOTH
Table 12. Diagnostic accuracy of Treponema pallidum devices
Test | Specimen Type | Type of Test | Sensitivity (95% CI) | Specificity (95% CI)
SD Bioline HIV/Syphilis Duo Test | Venous plasma (plasma) | Point-of-care | 100.0 (79.1-100.0) | 100.0 (97.7-100.0)
 | Serum, fingerstick blood |  | 95.5 (84.9-98.7) | 99.9 (99.8-99.9)
Miriad TP/HBV/HIV/HCV antibody test | Fingerstick blood |  | 100.0 (22.4-100.0) | 98.1 (93.3-99.8)
Multiplex PCR | Semen | Platform | 100.0 (NA) | 100.0 (NA)
CI, confidence interval; HBV, hepatitis B virus; HCV, hepatitis C virus; HIV, human immunodeficiency virus; NA, not available; PCR, polymerase chain reaction; TP, Treponema pallidum. |  |  |  | 
DISCUSSION & CONCLUSION
Diagnostic performance varied by STI, sub-population, disease prevalence, incidence, type of technology (POC/platform) and reference standards.
These systematic review findings present the available literature of rapid multiplex STI devices over the past decade, thereby allowing decision makers to objectively select the appropriate test for use in their setting.
With the exception of Treponema pallidum, each STI was only detected by one type of device (platform or point-of-care). While multiplex platform and POC STI devices complement each other well in settings outside the lab, this fact limits the testing capacity of certain bacterial STIs worldwide, particularly as costly infrastructure and training are required to conduct platform testing.
While only devices with superior diagnostic accuracy (>90%) are shown here, these represent the vast majority of results collected in the systematic review, thusly illustrating that most available multiplex STI rapid devices can be used reliably.
However, due to the wide 95% CIs of certain results, additional research with higher sample sizes are needed to validate these findings.
We conclude that due to their high specificity, platform tests are suited for confirmatory testing while POC tests remain suited for initial screening because of their portability and ease of use.
ACKNOWLEDGMENTS
We thank Ms. Nandi Belinsky for proofreading and Ms. Genevieve Gore for help in conducting the literature search.
This work was funded by CIHR grant #PJT 153149.